## Sample
For Reference only, not imported | Sample File Names | Subfolder in data directory | Desctiption for titles on figures | Cigarette Conc. [µg/mL] | Diesel Conc. [µg/mL] | Wood Conc. [µg/mL] | Field Sample PM Extract Conc. [µg/mL] | Field Sample PM Conc. [µg/m^3] | Sampling Time [mins] | Raman Peak Area for Normalization to R.U. | Blank File Name | Sample Category
Index | File_Name | Folder | Desc | Cig | Diesel | Wood | Extract_Conc | PM_Conc | Sample_Time | Raman_Area | Blank | Type | Comments
0 | ZEF0058 | 20161130 | Diesel1 | 0 | 5 | 0 |  |  |  | 2040.3794 | 20161130_BCycHex | Test_Diesel | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
1 | ZEF0059 | 20161130 | Diesel2 | 0 | 5 | 0 |  |  |  | 2040.3794 | 20161130_BCycHex | Cal_Diesel | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
2 | ZEF0060 | 20161130 | Diesel3 | 0 | 5 | 0 |  |  |  | 2040.3794 | 20161130_BCycHex | Test_Diesel | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
3 | ZEF0079 | 20161130 | Cigarette from Cookstove Lab Hood | 0.77 | 0 | 0 |  |  |  | 2040.3794 | 20161130_BCycHex | Test_Cig | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
4 | ZEF0080 | 20161130 | Cigarette from Cookstove Lab Hood | 5 | 0 | 0 |  |  |  | 2040.3794 | 20161130_BCycHex | Cal_Cig | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
5 | ZEF0081 | 20161130 | Cigarette from Cookstove Lab Hood | 5 | 0 | 0 |  |  |  | 2040.3794 | 20161130_BCycHex | Cal_Cig | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
6 | ZEF0037 | 20161130 | WoodSmoke | 0 | 0 | 5 |  |  |  | 2040.3794 | 20161130_BCycHex_LowGrade | Cal_Wood | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
7 | 20161130_BCycHex_LowGrade | 20161130 | Chem Store Cyclohexane Blank | [6 empty] | 2040.3794 | 20161130_BCycHex_LowGrade | Blank | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
8 | 20161130_BCycHex | 20161130 | Spectroscopy Grade Blank | [6 empty] | 2040.3794 | 20161130_BCycHex | Blank | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
9 | ZEF0066 | 20170224 | PM2.5 Wood Smoke | 0 | 0 | 5 |  |  |  | 1504.8279 | 20170224_BCycHex | Cal_Wood | Possible detector saturation. Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
10 | ZEF0067 | 20170224 | No Impactor Wood Smoke | 0 | 0 | 5 |  |  |  | 1504.8279 | 20170224_BCycHex | Cal_Wood | Possible detector saturation. Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
11 | 20170224_BCycHex | 20170224 | 2017-02-24 Cyclohexane Blank | [6 empty] | 1504.8279 | 20170224_BCycHex | Blank | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
12 | ZEF0064 | 20170412 | Home(1.6 days) [9.1ug/mL] |  |  |  | 9.1 | 7.38 | 2258 | 1410.4 | 20170412_BCycHex0p5sec | Sample | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
13 | ZEF0065 | 20170412 | Home (6.5 days) [52.2 ug/mL] |  |  |  | 52.2 | 9.85 | 9420 | 1410.4 | 20170412_BCycHex0p5sec | Sample | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
14 | ZEF0070 | 20170412 | Home (0.1 days) [ 2.1 ug/mL] |  |  |  | 2.1 | 23.29 | 167 | 1410.4 | 20170412_BCycHex0p5sec | Sample | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
15 | ZEF0082 | 20170412 | Home (2.4 days) [3.9 ug/mL] |  |  |  | 3.9 | 4.63 | 3481 | 1410.4 | 20170412_BCycHex0p5sec | Sample | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
16 | ZEF0084 | 20170412 | Home (2.2 days) [5.3 ug/mL] |  |  |  | 5.3 | 4.87 | 3167 | 1410.4 | 20170412_BCycHex0p5sec | Sample | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
17 | 20170412_BCycHex0p5sec | 20170412 | 2017-04-14 Cyclohexane Blank | [6 empty] | 1410.4 | 20170412_BCycHex0p5sec | Blank | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
18 | ZEF0086_10ugmL | 20170512 | Diesel 10ug/mL (ZEF0086) | 0 | 10 | 0 |  |  |  | 1311.9 | 170512_BCycHex | Cal_Diesel | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
19 | ZEF0087_10ugmL | 20170512 | Diesel 10ug/mL (ZEF0087) | 0 | 10 | 0 |  |  |  | 1311.9 | 170512_BCycHex | Cal_Diesel | Raman units collected with 1 pixel binning so area multiplied by 4 to match 4 pixel binning used on samples
20 | 170512_BCycHex | 20170512 | 2017-05-12 Cyclohexane Blank | [6 empty] | 1311.9 | 170512_BCycHex | Blank
21 | ZEF0092_DieselBackRoom | 20170626 | Diesel Mechanical Room |  |  |  | 16.9 | 3.3 | 11844 | 1329.3 | BCycHex_05_20170626 | Sample
22 | BCycHex_05_20170626 | 20170626 | 2017-06-26 Cyclohexane Blank (0.5 sec) | [6 empty] | 1329.3 | BCycHex_05_20170626 | Blank
23 | ZEF0094Cig_5ugml_CycHex | 20170719 | Cigarette 5 ug/mL (ZEF0094) | 5 | 0 | 0 |  |  |  | 1255.5 | 170719_BCycHex | Test_Cig
24 | ZEF0093_Cook_5ugml_CycHex | 20170719 | Cooksotve 5 ug/mL (ZEF0093) | 0 | 0 | 5 |  |  |  | 1255.5 | 170719_BCycHex | Test_Wood
25 | 170719_BCycHex | 20170719 | 2017-07-19 Cyclohexane Blank | [6 empty] | 1255.5 | 170719_BCycHex | Blank
26 | ZEF0094Cig_25ugml_H2O | 20170719 | Cigarette 25 ug/mL (ZEF0094) in H2O | 25 | 0 | 0 |  |  |  | 1255.5 | 170719_BH2O | Other
27 | ZEF0094Cig_5ugml_MeOH | 20170719 | Cigarette 5 ug/mL (ZEF0094) in MeOH | 5 | 0 | 0 |  |  |  | 1255.5 | 170719_BMeOH | Other
28 | ZEF0093_Cook_10ugml_H20 | 20170719 | Cooksotve 10 ug/mL (ZEF0093) in H2O | 0 | 0 | 10 |  |  |  | 1255.5 | 170719_BH2O | Other
29 | ZEF0093_Cook_5ugml_MeOH | 20170719 | Cooksotve 5 ug/mL (ZEF0093) in MeOH | 0 | 0 | 5 |  |  |  | 1255.5 | 170719_BMeOH | Other
30 | 170719_BH2O | 20170719 | H20 Blank | [6 empty] | 1255.5 | 170719_BH2O | Other
31 | 170719_BMeOH | 20170719 | MeOH Blank | [6 empty] | 1255.5 | 170719_BMeOH | Other
32 | ZEF0088CookstoveLab | 20170725 | Cookstove Lab Ambient Sample |  |  |  | 10 | 4 | 6030 | 1235.8 | BCycHex_05_20170725 | Sample
33 | ZEF0095SmokingArea | 20170725 | Outdoor Smoking Area Sample |  |  |  | 10 | 6.3 | 1940 | 1235.8 | BCycHex_05_20170725 | Sample
34 | BCycHex_05_20170725 | 20170725 | 2017-07-25 Cyclohexane Blank (0.5 sec) | [6 empty] | 1235.8 | BCycHex_05_20170725 | Blank
35 | ZEF0094_Cig5ugmL | 20171016 | Cigarette 5 ug/mL (ZEF0094) | 5 | 0 | 0 |  |  |  | 1184.8 | 171016_BCycHex_0p5sec | Test_Cig | Mixed 2017-10-13
36 | ZEF0015_Diesel5ugmL | 20171016 | Diesel 5 µg/mL (ZEF0015) | 0 | 5 | 0 |  |  |  | 1184.8 | 171016_BCycHex_0p5sec | Test_Diesel | Mixed 2017-10-13
37 | ZEF0094_0015_CigDiesel5ugmL | 20171016 | Cig + Diesel 5 µg/mL (ZEF0094 & 0015) | 5 | 5 | 0 |  |  |  | 1184.8 | 171016_BCycHex_0p5sec | Test_Mix | Mixed 2017-10-13
38 | ZEF0094_0026_CigCookstove5ugmL | 20171016 | Cig + Cookstove 5 µg/mL (ZEF0094 & 0026) | 5 | 0 | 5 |  |  |  | 1184.8 | 171016_BCycHex_0p5sec | Test_Mix | Mixed 2017-10-13
39 | ZEF0015_0026_DieselCookstove5ugmL | 20171016 | Diesel + Cookstove 5 µg/mL (ZEF0015 & 0026) | 0 | 5 | 5 |  |  |  | 1184.8 | 171016_BCycHex_0p5sec | Test_Mix | Mixed 2017-10-13
40 | ZEF0094_0015_0026_CigDieselCookstove4ugmL | 20171016 | Cig + Diesel + Cookstove 4 µg/mL (ZEF0094 & 0015 &0026) | 4 | 4 | 4 |  |  |  | 1184.8 | 171016_BCycHex_0p5sec | Test_Mix | Mixed 2017-10-13
41 | ZEF0026_Cookstove5ugmL | 20171016 | Cookstove 5 µg/mL (ZEF0026) | 0 | 0 | 5 |  |  |  | 1184.8 | 171016_BCycHex_0p5sec | Test_Wood | Mixed 2017-10-13
42 | 171016_BCycHex_0p5sec | 20171016 | 2017-10-16 Cyclohexane Blank | [6 empty] | 1184.8 | 171016_BCycHex_0p5sec | Blank
43 | ZEF0094Cig1ugmL | 20171027 | Cigarette 1 ug/mL | 1 | 0 | 0 |  |  |  | 1196.7 | BCycHex171027 | Test_Cig | Mixed 2017-10-26
44 | ZEF0094Cig2ugmL | 20171027 | Cigarette 2 ug/mL | 2 | 0 | 0 |  |  |  | 1196.7 | BCycHex171027 | Test_Cig | Mixed 2017-10-26
45 | ZEF0094Cig3ugmL | 20171027 | Cigarette 3 ug/mL | 3 | 0 | 0 |  |  |  | 1196.7 | BCycHex171027 | Test_Cig | Mixed 2017-10-26
46 | ZEF0094Cig5ugmL | 20171027 | Cigarette 5 ug/mL | 5 | 0 | 0 |  |  |  | 1196.7 | BCycHex171027 | Test_Cig | Mixed 2017-10-26
47 | ZEF0015Diesel1ugmL | 20171027 | Diesel 1 µg/mL | 0 | 1 | 0 |  |  |  | 1196.7 | BCycHex171027 | Test_Diesel | Mixed 2017-10-26
48 | ZEF0015Diesel2ugmL | 20171027 | Diesel 2 µg/mL | 0 | 2 | 0 |  |  |  | 1196.7 | BCycHex171027 | Test_Diesel | Mixed 2017-10-26
49 | ZEF0015Diesel3ugmL | 20171027 | Diesel 3 µg/mL | 0 | 3 | 0 |  |  |  | 1196.7 | BCycHex171027 | Test_Diesel | Mixed 2017-10-26
50 | ZEF0015Diesel5ugmL | 20171027 | Diesel 5 µg/mL | 0 | 5 | 0 |  |  |  | 1196.7 | BCycHex171027 | Test_Diesel | Mixed 2017-10-26
51 | ZEF0026Cookstove1ugmL | 20171027 | Cookstove 1 µg/mL | 0 | 0 | 1 |  |  |  | 1196.7 | BCycHex171027 | Test_Wood | Mixed 2017-10-26
52 | ZEF0026Cookstove2ugmL | 20171027 | Cookstove 2 µg/mL | 0 | 0 | 2 |  |  |  | 1196.7 | BCycHex171027 | Test_Wood | Mixed 2017-10-26
53 | ZEF0026Cookstove3ugmL | 20171027 | Cookstove 3 µg/mL | 0 | 0 | 3 |  |  |  | 1196.7 | BCycHex171027 | Test_Wood | Mixed 2017-10-26
54 | ZEF0026Cookstove5ugmL | 20171027 | Cookstove 5 µg/mL | 0 | 0 | 5 |  |  |  | 1196.7 | BCycHex171027 | Test_Wood | Mixed 2017-10-26
55 | BCycHex171027 | 20171027 | 2017-10-27 Cyclohexane Blank | [6 empty] | 1196.7 | BCycHex171027 | Blank
56 | ZEF0118c5d0w0 | 20180110 | Cig (6min, 5ug/mL) | 5 | 0 | 0 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Cal_Cig
57 | ZEF0119c5d0w0 | 20180110 | Cig (2min, 5ug/mL) | 5 | 0 | 0 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_Cig
58 | ZEF0121c5d0w0 | 20180110 | Cig (5min, 5ug/mL) + HEPA (304min) | 5 | 0 | 0 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Cal_Cig
59 | ZEF0124c5d0_7w0 | 20180110 | Cig (2min,5ug/mL) + Diesel (384min, 0.7ug/mL) | 5 | 0.7 | 0 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_Multi
60 | ZEF0125c5d1_2w0 | 20180110 | Cig (1min,5ug/mL) + Diesel (384min, 1.2ug/mL) | 5 | 1.2 | 0 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_Multi
61 | ZEF0126c5d1_2w1_6 | 20180110 | Cig (1min,5ug/mL) + Diesel (384min, 1.2ug/mL) + Wood (20min, 1.6ug/mL) | 5 | 1.2 | 1.6 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_Multi
62 | ZEF0127c5d0w2_1 | 20180110 | Cig (1min,5ug/mL) + Wood (20min, 2.1ug/mL) | 5 | 0 | 2.1 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_Multi
63 | ZEF0128c0d3_1w5 | 20180110 | Diesel (384min, 3.1ug/mL) + Wood (20min, 5ug/mL) | 0 | 3.1 | 5 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_Multi
64 | ZEF0129c0d5w0 | 20180110 | Diesel (384min, 5ug/mL) | 0 | 5 | 0 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Cal_Diesel
65 | ZEF0132c0d5w0 | 20180110 | Diesel (384min, 5ug/mL) | 0 | 5 | 0 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_Diesel
66 | ZEF0133ProcBlank | 20180110 | Proc Blank | 0 | 0 | 0 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_ProcBlank
67 | ZEF0137ProcBlank | 20180110 | Proc Blank (ZEF0137) | 0 | 0 | 0 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_ProcBlank
68 | ZEF0134c0d0w5 | 20180110 | Wood (20min, 5ug/mL) | 0 | 0 | 5 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_Wood
69 | ZEF0135c0d0w5 | 20180110 | Wood (20min, 5ug/mL) | 0 | 0 | 5 |  |  |  | 1167.8 | 180110_BCycHex_0p5sec | Test_Wood
70 | 180110_BCycHex_0p5sec | 20180110 | 2018-01-10 Cyclohexane Blank | [6 empty] | 1167.8 | 180110_BCycHex_0p5sec | Blank
71 | ZEF0132Diesel10ugmL | 20180117 | Diesel 10ug/mL (ZEF0132) | 0 | 10 | 0 |  |  |  | 1192.1 | 180117_BCycHex_0p5sec | Test_Diesel
72 | ZEF0015_20171217_Diesel10ugmL | 20180117 | Diesel 10ug/mL (ZEF0015) | 0 | 10 | 0 |  |  |  | 1192.1 | 180117_BCycHex_0p5sec | Test_Diesel
73 | ZEF0017Wood5ugmL_Filtered | 20180117 | Cookstove 5ug/mL Filtered (ZEF-0017) | 0 | 0 | 5 |  |  |  | 1192.1 | 180117_BCycHex_0p5sec | Test_Wood
74 | ZEF0017Wood5ugmL_UnFiltered | 20180117 | Cookstove 5ug/mL Unfiltered (ZEF-0017) | 0 | 0 | 5 |  |  |  | 1192.1 | 180117_BCycHex_0p5sec | Test_Wood
75 | 180117_BCycHex_0p5sec | 20180117 | 2018-01-17 Cyclohexane Blank | [6 empty] | 1192.1 | 180117_BCycHex_0p5sec | Blank
76 | ZEF0119_Cig_0p2ugmL | 20180227 | Cigarette 0.2 µg/mL | 0.2 | 0 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Cig
77 | ZEF0119_Cig_0p5ugmL | 20180227 | Cigarette 0.5 µg/mL | 0.5 | 0 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Cig
78 | ZEF0119_Cig_1ugmL | 20180227 | Cigarette 1 µg/mL | 1 | 0 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Cig
79 | ZEF0119_Cig_2ugmL | 20180227 | Cigarette 2 µg/mL | 2 | 0 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Cig
80 | ZEF0119_Cig_3ugmL | 20180227 | Cigarette 3 µg/mL | 3 | 0 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Cig
81 | ZEF0119_Cig_5ugmL | 20180227 | Cigarette 5 µg/mL | 5 | 0 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Cig
82 | ZEF0132_Diesel_0p2ugmL | 20180227 | Diesel 0.2 µg/mL | 0 | 0.2 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Diesel
83 | ZEF0132_Diesel_0p5ugmL | 20180227 | Diesel 0.5 µg/mL | 0 | 0.5 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Diesel
84 | ZEF0132_Diesel_1ugmL | 20180227 | Diesel 1 µg/mL | 0 | 1 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Diesel
85 | ZEF0132_Diesel_2ugmL | 20180227 | Diesel 2 µg/mL | 0 | 2 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Diesel
86 | ZEF0132_Diesel_3ugmL | 20180227 | Diesel 3 µg/mL | 0 | 3 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Diesel
87 | ZEF0132_Diesel_5ugmL | 20180227 | Diesel 5 µg/mL | 0 | 5 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Diesel
88 | ZEF0134_Wood_0p2ugmL | 20180227 | Wood Smoke 0.2 µg/mL | 0 | 0 | 0.2 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Wood
89 | ZEF0134_Wood_0p5ugmL | 20180227 | Wood Smoke 0.5 µg/mL | 0 | 0 | 0.5 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Wood
90 | ZEF0134_Wood_1ugmL | 20180227 | Wood Smoke 1 µg/mL | 0 | 0 | 1 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Wood
91 | ZEF0134_Wood_2ugmL | 20180227 | Wood Smoke 2 µg/mL | 0 | 0 | 2 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Wood
92 | ZEF0134_Wood_3ugmL | 20180227 | Wood Smoke 3 µg/mL | 0 | 0 | 3 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Wood
93 | ZEF0134_Wood_5ugmL | 20180227 | Wood Smoke 5 µg/mL | 0 | 0 | 5 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_Wood
94 | ZEF0133_ProcBlank | 20180227 | Process Blank | 0 | 0 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_ProcBlank
95 | ZEF0137_ProcBlank | 20180227 | Process Blank | 0 | 0 | 0 |  |  |  | 1146.3 | 20180227_BCycHex0p5sec | Test_ProcBlank
96 | 20180227_BCycHex0p5sec | 20180227 | 2018-01-27 Cyclohexane Blank | [6 empty] | 1146.3 | 20180227_BCycHex0p5sec | Blank
97 | ZEF0019_0029_0035_c0d1w1 | 20180419 | ZEF0019_0029_0035_c0d1w1 | 0 | 1 | 1 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
98 | ZEF0019_0029_0035_c0d3w1 | 20180419 | ZEF0019_0029_0035_c0d3w1 | 0 | 3 | 1 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
99 | ZEF0019_0029_0035_c0d3w3 | 20180419 | ZEF0019_0029_0035_c0d3w3 | 0 | 3 | 3 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
100 | ZEF0019_0029_0035_c1d0w1 | 20180419 | ZEF0019_0029_0035_c1d0w1 | 1 | 0 | 1 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
101 | ZEF0019_0029_0035_c1d0w3 | 20180419 | ZEF0019_0029_0035_c1d0w3 | 1 | 0 | 3 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
102 | ZEF0019_0029_0035_c1d1w0 | 20180419 | ZEF0019_0029_0035_c1d1w0 | 1 | 1 | 0 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
103 | ZEF0019_0029_0035_c1d1w1 | 20180419 | ZEF0019_0029_0035_c1d1w1 | 1 | 1 | 1 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
104 | ZEF0019_0029_0035_c1d1w3 | 20180419 | ZEF0019_0029_0035_c1d1w3 | 1 | 1 | 3 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
105 | ZEF0019_0029_0035_c1d3w0 | 20180419 | ZEF0019_0029_0035_c1d3w0 | 1 | 3 | 0 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
106 | ZEF0019_0029_0035_c1d3w1 | 20180419 | ZEF0019_0029_0035_c1d3w1 | 1 | 3 | 1 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
107 | ZEF0019_0029_0035_c1d3w3 | 20180419 | ZEF0019_0029_0035_c1d3w3 | 1 | 3 | 3 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
108 | ZEF0019_0029_0035_c3d0w3 | 20180419 | ZEF0019_0029_0035_c3d0w3 | 3 | 0 | 3 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
109 | ZEF0101_SeaFire_147ugmL | 20180419 | ZEF0101_SeaFire_147ugmL |  |  |  | 147 | 61.48 | 3985 | 1146.879 | 20180419_BCycHex_0p5 | Sample
110 | ZEF0116_Campus | 20180419 | ZEF0116_Campus_6.9ugmL |  |  |  | 6.9 | 1.41 | 8188 | 1146.879 | 20180419_BCycHex_0p5 | Sample
111 | ZEF0117_Home | 20180419 | ZEF0117_Home_87ugmL |  |  |  | 87 | 24.47 | 5689 | 1146.879 | 20180419_BCycHex_0p5 | Sample
112 | ZEF0120_Home | 20180419 | ZEF0120_Home_59ugmL |  |  |  | 59 | 8.97 | 11010 | 1146.879 | 20180419_BCycHex_0p5 | Sample
113 | ZEF0122_Cig_4ugmL | 20180419 | ZEF0122_Cig_4ugmL | 4 | 0 | 0 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Cig
114 | ZEF0123_0131_0134_c3d1w0 | 20180419 | ZEF0123_0131_0134_c3d1w0 | 3 | 1 | 0 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
115 | ZEF0123_0131_0134_c3d1w1 | 20180419 | ZEF0123_0131_0134_c3d1w1 | 3 | 1 | 1 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
116 | ZEF0123_0131_0134_c3d1w3 | 20180419 | ZEF0123_0131_0134_c3d1w3 | 3 | 1 | 3 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
117 | ZEF0123_0131_0134_c3d3w1 | 20180419 | ZEF0123_0131_0134_c3d3w1 | 3 | 3 | 1 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
118 | ZEF0123_0131_0134_c3d3w3 | 20180419 | ZEF0123_0131_0134_c3d3w3 | 3 | 3 | 3 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Mix
119 | ZEF0123_Cig_2ugmL | 20180419 | ZEF0123_Cig_2ugmL | 2 | 0 | 0 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Cig
120 | ZEF0130_Diesel_4ugmL | 20180419 | ZEF0130_Diesel_4ugmL | 0 | 4 | 0 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Diesel
121 | ZEF0131_Diesel_3ugmL | 20180419 | ZEF0131_Diesel_3ugmL | 0 | 3 | 0 |  |  |  | 1146.879 | 20180419_BCycHex_0p5 | Test_Diesel
122 | 20180419_BCycHex_0p5 | 20180419 | Spectroscopy Grade Blank | [6 empty] | 1146.879 | 20180419_BCycHex_0p5 | Blank
123 | ZEF0017_Wood_0p5ugmL | 20180815 | Cookstove 0.5 µg/mL | 0 | 0 | 0.5 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Wood
124 | ZEF0017_Wood_1ugmL | 20180815 | Cookstove 1 µg/mL | 0 | 0 | 1 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Wood
125 | ZEF0017_Wood_2ugmL | 20180815 | Cookstove 2 µg/mL | 0 | 0 | 2 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Wood
126 | ZEF0122_Cig_0p5ugmL | 20180815 | Cigarette 0.5 ug/mL | 0.5 | 0 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Cig
127 | ZEF0122_Cig_1ugmL | 20180815 | Cigarette 1 ug/mL | 1 | 0 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Cig
128 | ZEF0122_Cig_2ugmL | 20180815 | Cigarette 2 ug/mL | 2 | 0 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Cig
129 | ZEF0123_Cig_0p5ugmL | 20180815 | Cigarette 0.5 ug/mL | 0.5 | 0 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Cig
130 | ZEF0123_Cig_1ugmL | 20180815 | Cigarette 1 ug/mL | 1 | 0 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Cig
131 | ZEF0123_Cig_2ugmL | 20180815 | Cigarette 2 ug/mL | 2 | 0 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Cig
132 | ZEF0130_Diesel_2ugmL | 20180815 | Diesel 2 µg/mL | 0 | 2 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Diesel
133 | ZEF0130_Diesel_3ugmL | 20180815 | Diesel 3 µg/mL | 0 | 3 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Diesel
134 | ZEF0130_Diesel_4ugmL | 20180815 | Diesel 4 µg/mL | 0 | 4 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Diesel
135 | ZEF0131_Diesel_1ugmL | 20180815 | Diesel 1 µg/mL | 0 | 1 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Diesel
136 | ZEF0131_Diesel_2ugmL | 20180815 | Diesel 2 µg/mL | 0 | 2 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Diesel
137 | ZEF0131_Diesel_3ugmL | 20180815 | Diesel 3 µg/mL | 0 | 3 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Diesel
138 | ZEF0131_Diesel_4ugmL | 20180815 | Diesel 4 µg/mL | 0 | 4 | 0 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Diesel
139 | ZEF0135_Wood_0p5ugmL | 20180815 | Cookstove 0.5 µg/mL | 0 | 0 | 0.5 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Wood
140 | ZEF0135_Wood_1ugmL | 20180815 | Cookstove 1 µg/mL | 0 | 0 | 1 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Wood
141 | ZEF0135_Wood_2ugmL | 20180815 | Cookstove 2 µg/mL | 0 | 0 | 2 |  |  |  | 1513.5 | 20180815_BCycHex_0p5 | Test_Wood
142 | 20180815_BCycHex_0p5 | 20180815 | 2018-08-15 Cyclohexane Blank | [6 empty] | 1513.5 | 20180815_BCycHex_0p5 | Blank
143 | ZEF0136_WoodSmoke_01s | 20181011 | Cookstove 5 µg/mL (ZEF00136) | 0 | 0 | 5 |  |  |  | 267.1 | BCycHex_01_20181011 | Cal_Wood | 0.1 second integration time
144 | BCycHex_01_20181011 | 20181011 | 2018-10-11 Cyclohexane Blank (0.1 sec) | [6 empty] | 267.1 | BCycHex_01_20181011 | Blank | 0.1 second integration time
145 | ZEF0143_ProcessBlank3x | 20181026 | Process Blank (ZEF 0143) | 0 | 0 | 0 |  |  |  | 1311.5 | BCycHex_05_20181026 | Test_ProcBlank
146 | ZEF0146_ProcessBlank3x | 20181026 | Process Blank (ZEF 0146) | 0 | 0 | 0 |  |  |  | 1311.5 | BCycHex_05_20181026 | Test_ProcBlank
147 | BCycHex_05_20181026 | 20181026 | 2018-10-26 Cyclohexane Blank (0.5 sec) | [6 empty] | 1311.5 | BCycHex_05_20181026 | Blank